***CALICE IV***

Simulation results

Simulation data results for CALICE 4 Diodes layout, 25 μm cell pitch.

Collecting diodes layout:

Cell size: 25 x 25 m2

Cell 9

Cell 8

Cell 7

Diode size: 1.5 x 1.5 m2

Epitaxial thickness: 20 m

Cell 4

Cell 5

Cell 6

1

Diode location: S4

3

4

Cell 1

Cell 2

Cell 3

10 Hit points

1

2

Diode bias: 2V

PWell bias: 0V

Substrate bias: floating

Ten hit points have been simulated, corresponding to the center of the small squares in the picture above (in the central ‘cell’), numbered as follows:

1

2

3

4

5

6

7

8

9

10

N.B. To speed up the simulations, a coarser mesh has been used: this should imply an absolute accuracy in collected charge not worse than 20%. More refined simulations will be carried out soon.

The definition of a cell is somewhat ambiguous in this case, as the diodes are not logically grouped, either because of geometry or electrically: however, in this context and in the data representation chosen, each ‘cell’ is defined as a group of 4 diodes enclosed by a square as in the picture above. Within each cell, each diode is numbered anticlockwise, from the ‘bottom left’ (again see picture above).

Data results for each of the diodes of each ‘cell’ for each of the hits are reported below.

Owing to the symmetry, it is easy to mirror the results over the whole 3 x 3 cells area: some examples are reported below. From these data, it should then be possible to come up with an approximated function that describes for example the total collected charge (i.e. the sum) from the 4 diodes of a cell as a function of the spatial coordinates of the hit over the whole area ( 3x3 cells in this case).

1

2

Diodes Collected charge

hits 1,2,3

3

Four diodes Σ Collected charge

hit 1,2,3

1

2

3

ΔV diodes hit 1: max τf ≈ 190 ns

Because of the thicker epitaxial layer, the collection time is considerably longer ( about 190 ns in case of hit 1). Worst scenario still under investigation.

Data results

*Q_xy indicates diode y  of cell x ( x = 1.. 9, y = 1 .. 4)

**Charge in e-

Hit 1:

Epi_thickness: 20

Xhit: 37.5 Yhit: 37.5

Q_11: 4.1561336  Q_12: 10.035213 Q_13: 26.256369 Q_14: 10.07058

Q_21: 14.725188  Q_22: 14.77651 Q_23: 44.280407 Q_24: 44.014107

Q_31: 10.0325  Q_32: 4.2473917 Q_33: 10.112346 Q_34: 25.510986			      		       Q_41: 14.988318  Q_42: 44.17688 Q_43: 43.826101 Q_44: 14.742579

Q_51: 105.32057  Q_52: 105.6373 Q_53: 105.85034 Q_54: 105.24476 					      Q_61: 44.31438931  Q_62: 15.144635 Q_63: 14.970992 Q_64: 43.451112

Q_71: 9.9154917  Q_72: 25.587026 Q_73: 10.168891 Q_74: 4.2477759

Q_81: 43.222846  Q_82: 42.429359 Q_83: 15.151659 Q_84: 15.132793

Q_91: 25.1917  Q_92: 9.9580095 Q_93: 4.3133659 Q_94: 10.017707

Hit 2:

Epi_thickness: 20

Xhit: 37.5 Yhit: 33.334

Q_11: 5.0008175  Q_12: 12.422484 Q_13: 31.255853 Q_14: 11.220372

Q_21: 19.378411  Q_22: 19.201943 Q_23: 57.151378 Q_24: 57.266373

Q_31: 12.2433  Q_32: 5.0240278 Q_33: 11.4022 Q_34: 30.487282		      			      Q_41: 15.518887  Q_42: 46.831202 Q_43: 38.647709 Q_44: 13.708796

Q_51: 131.8263  Q_52: 129.25471 Q_53: 74.175268 Q_54: 81.439716

Q_61: 46.765421  Q_62: 15.023856 Q_63: 13.239372 Q_64: 37.661959

Q_71: 8.5421992  Q_72: 21.508543 Q_73: 7.8067743 Q_74: 3.4546743

Q_81: 33.480351  Q_82: 33.745346 Q_83: 11.314776 Q_84: 11.285515

Q_91: 21.242024  Q_92: 8.6246681 Q_93: 3.3682206 Q_94: 7.6818034

Hit 3:

Epi_thickness: 20

Xhit: 41.666 Yhit: 33.334

Q_11: 3.9712506  Q_12: 10.330145 Q_13: 23.605854 Q_14: 8.2681551

Q_21: 17.498337  Q_22: 19.736355 Q_23: 59.692899 Q_24: 47.636232

Q_31: 14.215433  Q_32: 5.5522671 Q_33: 13.929109 Q_34: 36.60602			      		      Q_41: 11.360046  Q_42: 34.695595 Q_43: 29.371978 Q_44: 10.176954

Q_51: 89.561586  Q_52: 205.37609 Q_53: 86.355014 Q_54: 63.587207

Q_61: 60.121121  Q_62: 19.399156 Q_63: 15.463794 Q_64: 42.814705

Q_71: 6.4836427  Q_72: 17.021091 Q_73: 6.8909358 Q_74: 2.80694

Q_81: 28.966561  Q_82: 34.430412 Q_83: 11.74703   Q_84: 10.545382

Q_91: 23.600926  Q_92: 9.9148138 Q_93: 3.9960302 Q_94: 8.7575155

Hit 4:

Epi_thickness: 20

Xhit: 37.5 Yhit: 29.168

Q_11: 5.7463732  Q_12: 14.799092 Q_13: 34.86106   Q_14: 12.209438

Q_21: 25.395439  Q_22: 23.438979 Q_23: 77.890035 Q_24: 73.966794

Q_31: 15.124421  Q_32: 6.0464558 Q_33: 12.5505     Q_34: 36.36757		      			      Q_41: 15.23474    Q_42: 45.87287   Q_43: 31.91447   Q_44: 11.955502

Q_51: 128.78714  Q_52: 130.29091 Q_53: 54.668731 Q_54: 58.740619

Q_61: 44.993341  Q_62: 14.157227 Q_63: 10.917222 Q_64: 31.467531

Q_71: 6.9559999  Q_72: 16.407476 Q_73: 6.1282684 Q_74: 2.8369648

Q_81: 24.702122  Q_82: 26.043483 Q_83: 9.1139097 Q_84: 8.657797

Q_91: 16.876641  Q_92: 7.1836579 Q_93: 2.8759572 Q_94: 6.4861081

Hit 5:

Epi_thickness: 20

Xhit: 41.666 Yhit: 29.168

Q_11: 4.5444312  Q_12: 12.140449 Q_13: 26.860258 Q_14: 9.2660189

Q_21: 22.937298  Q_22: 25.904175 Q_23: 83.199287 Q_24: 60.665848

Q_31: 22.3181  Q_32: 7.2603518 Q_33: 15.508076 Q_34: 44.292456		      			      Q_41: 11.24143  Q_42: 34.413472 Q_43: 25.488914 Q_44: 9.2837691

Q_51: 89.626951  Q_52: 200.01157 Q_53: 58.563052 Q_54: 50.053989

Q_61: 58.101713  Q_62: 19.233053 Q_63: 14.525009 Q_64: 38.648536

Q_71: 5.6810545  Q_72: 13.874428 Q_73: 5.3760143 Q_74: 2.3800536

Q_81: 22.440591  Q_82: 25.652958 Q_83: 8.850388 Q_84: 8.0011586

Q_91: 18.345212  Q_92: 8.0551717 Q_93: 3.2635223 Q_94: 6.7596552

Hit 6:

Epi_thickness: 20

Xhit: 45.832 Yhit: 29.168

Q_11: 3.487069  Q_12: 9.6213286 Q_13: 20.234617 Q_14: 6.7907139

Q_21: 19.439397  Q_22: 24.856202 Q_23: 82.908642 Q_24: 46.665798

Q_31: 21.138971  Q_32: 8.4628483 Q_33: 21.329193 Q_34: 57.342362		      			      Q_41: 8.3881817  Q_42: 25.573064 Q_43: 19.852255 Q_44: 7.0805533

Q_51: 63.023037  Q_52: 195.3334 Q_53: 58.247776 Q_54: 40.711293

Q_61: 82.91456  Q_62: 27.345465 Q_63: 19.516738 Q_64: 47.112819

Q_71: 4.3955222  Q_72: 11.417123 Q_73: 4.5579283 Q_74: 1.9389947

Q_81: 19.802277  Q_82: 25.409827 Q_83: 8.8576482 Q_84: 7.2297542

Q_91: 20.359546  Q_92: 9.6411655 Q_93: 3.5725369 Q_94: 7.2528675

Hit 7:

Epi_thickness: 20

Xhit: 37.5 Yhit: 25.002

Q_11: 6.8635327  Q_12: 17.847283 Q_13: 40.120314 Q_14: 13.037796

Q_21: 30.196423  Q_22: 31.677948 Q_23: 99.583952 Q_24: 100.21872

Q_31: 17.33658  Q_32: 6.5954795 Q_33: 13.396282 Q_34: 40.024515		      			      Q_41: 14.211989  Q_42: 42.476131 Q_43: 26.972767 Q_44: 10.419315

Q_51: 106.58965  Q_52: 102.76357 Q_53: 44.94982 Q_54: 45.147849

Q_61: 42.01546  Q_62: 14.501877 Q_63: 9.576392 Q_64: 26.597268

Q_71: 5.7873346  Q_72: 13.147791 Q_73: 4.8301693 Q_74: 2.3313911

Q_81: 18.834062  Q_82: 19.198186 Q_83: 6.7610921 Q_84: 6.6735362

Q_91: 12.962306  Q_92: 5.7163733 Q_93: 2.2087398 Q_94: 4.8106082

Hit 8:

Epi_thickness: 20

Xhit: 41.666 Yhit: 25.002

Q_11: 5.1569138  Q_12: 13.680689 Q_13: 29.74458 Q_14: 9.5877216

Q_21: 28.515976  Q_22: 33.679312 Q_23: 123.47548 Q_24: 75.152906

Q_31: 28.33547  Q_32: 7.8187197 Q_33: 17.422892 Q_34: 52.399294		      			      Q_41: 10.805035  Q_42: 33.056371 Q_43: 21.882462 Q_44: 8.1590407

Q_51: 80.40638  Q_52: 130.76035 Q_53: 44.824215 Q_54: 39.829329

Q_61: 52.087954  Q_62: 18.722046 Q_63: 12.338392 Q_64: 28.756646

Q_71: 4.6277018  Q_72: 11.397052 Q_73: 4.3303009 Q_74: 1.9364836

Q_81: 17.70669  Q_82: 19.908142 Q_83: 7.0151809 Q_84: 6.2959391

Q_91: 14.675915  Q_92: 6.6372904 Q_93: 2.5881291 Q_94: 5.3712306

Hit 9:

Epi_thickness: 20

Xhit: 45.832 Yhit: 25.002

Q_11: 5.4715306  Q_12: 7.532557 Q_13: 17.143292 Q_14: 7.213349

Q_21: 28.23121  Q_22: 33.75362 Q_23: 122.5678 Q_24: 53.53494

Q_31: 27.77913  Q_32: 13.38358 Q_33: 28.46328 Q_34: 76.57895		      			      Q_41: 7.5781853  Q_42: 17.6363 Q_43: 7.421577 Q_44: 5.174566

Q_51: 53.49671  Q_52: 123.7518 Q_53: 33.79314 Q_54: 28.7132

Q_61: 75.13561  Q_62: 30.0718 Q_63: 14.1839 Q_64: 28.565211

Q_71: 3.27757  Q_72: 6.135782 Q_73: 7.2135679 Q_74: 2.6353276

Q_81: 14.573235  Q_82: 19.842641 Q_83: 7.111350 Q_84: 5.17466

Q_91: 17.701639  Q_92: 11.391331 Q_93: 4.83567 Q_94: 6.735219

Hit 10:

Epi_thickness: 20

Xhit: 49.998 Yhit: 25.002

Q_11: 2.8570755  Q_12: 8.7371389 Q_13: 16.857809 Q_14: 5.5485515

Q_21: 19.444885  Q_22: 32.6929 Q_23: 101.08573 Q_24: 41.205841

Q_31: 40.215488  Q_32: 13.956532 Q_33: 29.927686 Q_34: 96.979019		      			      Q_41: 6.2996658  Q_42: 18.701626 Q_43: 14.053555 Q_44: 5.0782573

Q_51: 44.262149  Q_52: 105.28077 Q_53: 43.621669 Q_54: 28.192685

Q_61: 96.745231  Q_62: 29.516106 Q_63: 17.20022 Q_64: 40.177552

Q_71: 3.3037016  Q_72: 8.1013368 Q_73: 3.183373 Q_74: 1.3576457

Q_81: 14.075206  Q_82: 18.804658 Q_83: 6.0014489 Q_84: 5.1186729

Q_91: 16.952924  Q_92: 8.1820248 Q_93: 2.9972539 Q_94: 5.7481085

Next step would be to characterize the spread of charge to neighboring diodes from the data above, to asses if such a combination (i.e. S4 diodes layout and 20 μm epitaxial thickness) is satisfactory.

⁯